## Carbamide
Server Room 1
1. CCTV (Camera Monitoring System)
# | Item | Quantity | Unit | Aem Teklif | Unit Price | Total Price
1.1 | Network Video Recorder (NVR) | 1 | Unit | HIKVISION - DS-7632NXI-K2(D) (32-ch/2 HDD) 1U K Series AcuSense 4K NVR | 328,70 | 328.7
1.2 | HDD (Surveillance Disk) | 1 | Unit | HIKVISION - DS80HKVS-VX1 (8TB/5400RPM) | 828,00 | 828
1.3 | IP Camera | 2 | Unit | HIKVISION - DS-2CD1047G3H-LIUF (2.8mm) 4MP IR30m ColorVu 3.0 Fixed Bullet Network Camera | 152,38 | 304.76
1.4 | Motion Detector | 2 | Unit
2. Access Control System
2.1 | Access Control Panel | 1 | Unit | HIKVISION - DS-K2602T Pro Series Access Controller | 234,83 | 234.83
2.2 | Card Reader or Face Recognition | 1 | Unit | HIKVISION - DS-K1T343MX Value Series Face Access Terminal | 182,51 | 182.51
2.3 | Magnetic Lock | 1 | Unit | HIKHIKVISION - DS-K4H250-U Mounting Bracket Magnetic Locks | 12,79 | 12.79
|  |  |  | HIKVISION - DS-K4H250-LZ Pro Series Magnetic Lock Bracket | 22,84 | 22.84
2.4 | Lock Bracket | 1 | Unit | HIKVISION - DS-K4H250S Pro Series Magnetic Lock | 59,49 | 59.49
2.5 | Exit Button | 1 | Unit | HIKVISION - DS-K7P01 Exit & Emergency Button | 15,00 | 15
2.6 | Door Closer | 1 | Unit | HIKVISION - DS-K4DC105 Door Closer | 39,65 | 39.65
3. Environmental Monitoring System
3.1 | Temperature Sensor | 1 | Unit
3.2 | Smoke Sensor | 1 | Unit
3.3 | Humidity Sensor | 1 | Unit
3.4 | Water Leakage Sensor | 2 | Unit
4. Cabling & Infrastructure
4.1 | Network Cable |  |  | VOLTAM CAT 6 FTP OUTDOOR HF Şəbəkə Kabeli 0.57 mm pure copper +1.0 HDPE +ground wire +Al foil +6.4mm PVC +PE jacket Fluke pass 500-METR | 1,02
4.2 | Power Cable
4.3 | Signal Cable
4.4 | Connection Accessories
4.5 | Miscellaneous Materials
5. Software & Services
5.1 | System Installation & Configuration
5.2 | Required Licence (Perpetual)
5.3 | End Users Training
Server Room 2
1. CCTV (Camera Monitoring System)
# | Item | Quantity | Unit
1.1 | Network Video Recorder (NVR) | 1 | Unit
1.2 | HDD (Surveillance Disk) | 1 | Unit
1.3 | IP Camera | 2 | Unit
1.4 | Motion Detector | 2 | Unit
2. Access Control System
2.1 | Access Control Panel | 1 | Unit
2.2 | Card Reader or Face Recognition | 1 | Unit
2.3 | Magnetic Lock | 1 | Unit
2.4 | Lock Bracket | 1 | Unit
2.5 | Exit Button | 1 | Unit
2.6 | Door Closer | 1 | Unit
3. Environmental Monitoring System
3.1 | Temperature Sensor | 1 | Unit
3.2 | Smoke Sensor | 1 | Unit
3.3 | Humidity Sensor | 1 | Unit
3.4 | Water Leakage Sensor | 2 | Unit
4. Cabling & Infrastructure
4.1 | Network Cable
4.2 | Power Cable
4.3 | Signal Cable
4.4 | Connection Accessories
4.5 | Miscellaneous Materials
5. Software & Services
5.1 | System Installation & Configuration
5.2 | Required Licence (Perpetual)
5.3 | End Users Training
Server Room 3
1. CCTV (Camera Monitoring System)
# | Item | Quantity | Unit
1.1 | Network Video Recorder (NVR) | 1 | Unit
1.2 | HDD (Surveillance Disk) | 1 | Unit
1.3 | IP Camera | 2 | Unit
1.4 | Motion Detector | 2 | Unit
2. Access Control System
2.1 | Access Control Panel | 1 | Unit
2.2 | Card Reader or Face Recognition | 1 | Unit
2.3 | Magnetic Lock | 1 | Unit
2.4 | Lock Bracket | 1 | Unit
2.5 | Exit Button | 1 | Unit
2.6 | Door Closer | 1 | Unit
3. Environmental Monitoring System
3.1 | Temperature Sensor | 1 | Unit
3.2 | Smoke Sensor | 1 | Unit
3.3 | Humidity Sensor | 1 | Unit
3.4 | Water Leakage Sensor | 2 | Unit
4. Cabling & Infrastructure
4.1 | Network Cable | Should be determined by the contractor during the site survey
4.2 | Power Cable
4.3 | Signal Cable
4.4 | Connection Accessories
4.5 | Miscellaneous Materials
5. Software & Services
5.1 | System Installation & Configuration
5.2 | Required Licence (Perpetual)
5.3 | End Users Training

## NEZ
Server Room 1
1. Environmental Monitoring System |  |  |  | Unit Price | Total Price
1.1 | Temperature Sensor | 3 | Unit
1.2 | Smoke Sensor | 3 | Unit
1.3 | Humidity Sensor | 3 | Unit
1.4 | Water Leakage Sensor | 3 | Unit
2. Cabling & Infrastructure
2.1 | Network Cable
2.2 | Power Cable
2.3 | Signal Cable
2.4 | Connection Accessories
2.5 | Miscellaneous Materials
3. Software & Services
3.1 | System Installation & Configuration
3.2 | Required Licence (Perpetual)
3.3 | End Users Training