## Sheet1
Mallar (işlər, xidmətlər) | Say | Məhsul | Qiymət | Məbləğ | Qeyd
IDF RACK, 42U, 800x800, perforated doors, vertical cable trays with cover, FAN (Metal cable tray 50mmx40mm, with cover, meters included) | 61 | bu olcude yoxdur |  | 0
IDF PDU, vertical, 1phase, C13, 7kW | 122 | VOLTAM PD-01 6 way EU type PDU | 21 | 2562
IDF Fiber Optic Patch Panel, 24 core, SC, SM, set of pigtails, adapters | 132 | VOLTAM VF-52 24 Port Patch Panel with 24 pcs SC/UPC Adapter,24 pcs SC/UPC 0.9mm 1.5M Pigtail | 68.12 | 8991.84
IDF Fiber optic patchcord, 2m, SM, dual, LC/LC | 132 | VOLTAM VF-145 optic patch cord LC - LC 2m duplex UPC 2.0mm G652D LSZH | 5.91 | 780.12 | qeyd etdiyim mehsuldan say yoxdur (bizde 20 ededdir), bu sebebden basqasini alternativ olaraq teklif edecem - VOLTAM VF-138 optic patch cord SC/UPC - LC/UPC duplex 2 meter 2.0mm G652D LSZH - 5.57 azn edv daxil
IDF Fiber optic patchcord, 2m, SM, dual, LC/LC (SPARE) | 66 |  |  | 0
IDF Cable organizer, 19" (FO) | 66 | VOLTAM - VK-12 ( 1U Horizontal Kabel Organayzer ) | 7 | 462
IDF UPS 6kVA, Online, 1phase in, 1 phase out, battery included, rackmountable, SNMP card ethernet | 61 | yoxdur |  | 0
MDF RACK, 42U, 800x1200, perforated doors, vertical cable trays with cover, FAN Included: UPS Management software included, Power cable 3x4mm, Male connector, Female connector | 6 | yoxdur |  | 0
MDF PDU, vertical, 1phase, C13, 7kW | 12 | VOLTAM PD-01 6 way EU type PDU | 21 | 252
MDF Fiber Optic Patch Panel, 24 core, SC, SM, set of pigtails, adapters | 144 | VOLTAM VF-52 24 Port Patch Panel with 24 pcs SC/UPC Adapter,24 pcs SC/UPC 0.9mm 1.5M Pigtail | 68.12 | 9809.28
MDF Fiber optic patchcord, 2m, SM, dual, LC/LC | 66 | VOLTAM VF-145 optic patch cord LC - LC 2m duplex UPC 2.0mm G652D LSZH | 5.91 | 390.06 | qeyd etdiyim mehsuldan say yoxdur (bizde 20 ededdir), bu sebebden basqasini alternativ olaraq teklif edecem - VOLTAM VF-138 optic patch cord SC/UPC - LC/UPC duplex 2 meter 2.0mm G652D LSZH - 5.57 azn edv daxil
MDF Fiber optic patchcord, 2m, SM, dual, LC/LC (switch to DC) | 6 |  |  | 0
MDF Fiber optic patchcord, 2m, SM, dual, LC/LC (SPARE) | 18 |  |  | 0
MDF UPS 10kVA, Online, 1phase in, 1 phase out, battery included, rackmountable, SNMP card out, ethernet Included: UPS Management software, Power cable 3x4mm, Male connector, Female connector | 6 | VOLTAM VA-11 10KVA/9000W 192VDC Tower Online UPS | 1350 | 8100
UTP CAT6A cable | 300000m | VOLTAM CAT 5E UTP INDOOR (2*4pair 0.46mm CCA) Şəbəkə Kabeli | 0.17 | 51000
FO, SM, 12 core cable | 40000m | VOLTAM VF-122 GYXTC8Y FO-12 core TROSLU outdoor fiber optik kabel Tube Selt-Supporting Aerial Cables 8 cores | 1.02 | 40800
TOTAL |  |  |  | 123147.3